## Slide 1: Cyber Bunker
How to build? / Networking / Architecture
Daniel.Olkowski@dell.com
The most fresh ppt version of this document: https://inside.dell.com/docs/DOC-501379

## Slide 2: Agenda
Introduction
Components
Let’s build Cyber Bunker
Recovery
Cost
Materials

## Slide 3: Why Cyber Bunker?

## Slide 4: Cyber Bunker – why is important?
Castle strategy

## Slide 5: Cyber Bunker – why is important?
Castle strategy
Ambulance strategy

## Slide 6: Cyber Bunker – why is important?
Real time
protection

## Slide 7: Cyber Bunker – why is important?
Real time
protection
Cyber Bunker

## Slide 8: What is Cyber Bunker? Componentes

## Slide 9
Cyber Bunker
A complete solution that allows recovery after hacker/ransomware attack.
Isolated from production, with any frequency Cyber Bunker keeps historical snapshots of all data with no possibility to remove, change, encrypt by ransomware/hacker.
All the operations in Cyber Bunker - grabbing data, compliance protection, checking against virus, recovery – are fully automated.
Be safe!

## Slide 10
IT Infrastructure
Any backup software
Backup
Recovery
SITE A
IT Infrastructure
Any backup software
SITE B
Disaster Recovery
1% data transfer
100% recovery
Data Domain
Air Gap
Cyber Bunker
Cyber
Recovery
Checking
ransomware
PLAN B – Secure data & Recovery
Compliance
No possibility to change data
Ransomware
protection
Secure
Historical
backups
Recovery
automation
Data Domain
Separation
from production
Cyber
Sense
Backup
software
Sandbox
Any tests
Ransomware
protection
Management
and automation
Data Domain

## Slide 11: How to build Cyber Bunker? Networking / Security

## Slide 12
We will see the full architecture of the Cyber Bunker from networking/security perspective.

## Slide 13
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network

## Slide 14
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
Our production environment
Backup device is fully visible.
We can backup/restore/replicate.

## Slide 15
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Compliance
No possibility to change data
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
10.10.10.11
10.10.10.12
Dumps to Cyber Bunker are invisible, separated, not accessible
No access is allowed:
No graphical interface
No command access
No remote access
No ssh / http / https
No ping
Nothing!

## Slide 16
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Compliance
No possibility to change data
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
10.10.10.11
10.10.10.12
There is only possible to perform Data Domain replication to this physical Ethernet port

## Slide 17
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Compliance
No possibility to change data
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
10.10.10.11
10.10.10.12
Public network has no information about Cyber Bunker (DNS/IP)
There is NO access from public networker to Cyber Bunker
Only backup media device can contact with Cyber Bunker – still no GUI/CLI/ping

## Slide 19
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Compliance
No possibility to change data
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
10.10.10.11
10.10.10.12
Production Data Domain will have replication definition with Cyber Bunker DD – but in failed state

## Slide 20
Production DD has defined replication through seprated port to Cyber Bunker DD – failed state

## Slide 21
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Compliance
No possibility to change data
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
10.10.10.11
10.10.10.12
If there is NO data dump to Cyber Bunker, Ethernet port of DD in Cyber Bunker is turned off
Air Gap

## Slide 22
We see all the time if the port of DD in Bunker is off or on.
Even if port is on, there is no chance to perform any activities on DD in Bunker

## Slide 23
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
100.100.100.122
100.100.100.121
ddb.bunker.com
cr.bunker.com
Out Cyber Bunker can just provides us immutable, Compliance copy with FULL automation

## Slide 24
IT Infrastructure
Backup
Recovery
SITE A
Cyber Bunker
Data Domain
Data Domain
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
SQL
Hyp
Oracle
Storage
Recovery / Test Center

## Slide 25
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
100.100.100.122
100.100.100.121
SQL
Hyp
Oracle
ddb.bunker.com
cr.bunker.com
Storage
Cyber Bunker can be the FULL TEST CENTER that:
Verifies production
Provides systematical, periodical restores

## Slide 26
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
100.100.100.122
100.100.100.121
SQL
Hyp
Oracle
ddb.bunker.com
cr.bunker.com
Storage
If we anyhow think / have TEST ENVIRONMENT – why not to combine this idea with Cyber Bunker?

## Slide 27
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
100.100.100.122
100.100.100.121
SQL
Hyp
Oracle
ddb.bunker.com
cr.bunker.com
Storage
Cyber Bunker has separated network with own addresses and DNS, AD. Why?
If backup software starts, it shall not see production (backup starts, mess)
DNS is required by backup software
It is difficult to manage more and more VMs without DNS

## Slide 28
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
100.100.100.122
100.100.100.121
SQL
Hyp
Oracle
ddb.bunker.com
cr.bunker.com
76.76.76.12
76.76.76.11
Storage

## Slide 29
IT Infrastructure
Backup
Recovery
SITE A
10.66.98.85
ddp.mc.com
Cyber Bunker
Data Domain
Data Domain
DNS: ddp.mc.com 10.66.98.85
Public network
20.20.20.11
20.20.20.12
Air Gap
Cyber
Recovery
Cyber
Sense
Access
Station
DNS
Backup
software
AD
100.100.100.122
100.100.100.121
SQL
Hyp
Oracle
ddb.bunker.com
cr.bunker.com
76.76.76.12
76.76.76.11
Storage
How to access to Cyber Bunker? Again, we use dedicated network to access station.
The access can be from physical, dedicated laptop/PC/VM.
Or we set it up to group of people, etc.

## Slide 30: Recovery architecture

## Slide 31: Cost

## Slide 32
IT Infrastructure
Backup
Recovery
SITE A
Air Gap
Cyber Bunker
Cyber
Recovery
Checking
ransomware
Recovery
automation
Management
and automation
Cyber
Sense
Backup
software
Sandbox
Any tests
Logical
Data Domain
(mtree)
Logical
Data Domain
(mtree)
Backup
Server
Replication
on Data Domain level

## Slide 33: Materials

## Slide 34: Materials
Cyber Security https://youtu.be/jtgm2WHpFPk
Article: http://backuprecoveryguy.blogspot.com/2020/01/ransomware-attack-how-can-we-recover.html

## Slide 35: Materiały
https://backuprecoveryman.pl/cyber-recovery-materialy/

## Slide 36
Daniel.Olkowski@dell.com
Questions